# Doctor Care Anywhere

# DCA

# Clinical Risk Management Plan

| Document Reference: | DOC-CRMP-DCA-001 |
| --- | --- |
| Version: | 1.0 |
| Date: | 16.03.2026 |
| Review Date: | 15.03.2027 |
| Status: | FINAL |
| Owner: | Dr Anushka Mehrotra, CMO |
| Authors: | Yasmin Karsan, Clinical Safety Officer Dr Keith Grimes, Clinical Safety Officer |

# Document Management

## Revision History

| Version | Date | Summary of Changes |
| --- | --- | --- |
| 0.1 | 20/02/2026 | CRMP Initiated (Y.Karsan) |
| 0.2 | 26.02.2026 | CRMP Updated (Y.Karsan) |
| 0.3 | 28.02.2026 | CRMP Updated following CMO review (K.Grimes, Y.Karsan) |
| 1.0 | 16.03.2026 | Review & update (K.Grimes) |

## Authors

| Name | Title/Responsibility | Date | Version |
| --- | --- | --- | --- |
| Yasmin Karsan | CSO | 20/02/2026 | 0.1 |
| Dr Keith Grimes | CSO | 26/02/2026 | 0.2 |
| Dr Keith Grimes | CSO | 28/02/2026 | 0.3 |
| Dr Keith Grimes | CSO | 16/03/2026 | 1.0 |

## Reviewers

This document must be reviewed by the following people:

| Name | Title/Responsibility | Date | Version |
| --- | --- | --- | --- |
| Dr Anushka Mehrotra | CMO |  | 1.0 |
| Patrick Roberts | CD/CSO |  | 1.0 |

## Approved by

This document must be approved by the following people:

| Name | Title/Responsibility | Date | Version |
| --- | --- | --- | --- |
| Dr Anushka Mehrotra | CMO |  | 1.0 |

## Related Documents

| Ref | Document Title | Version |
| --- | --- | --- |
| 1 | DCB0129 Clinical Risk Management: its Application in the Manufacture of Health IT Systems – Specification | 4.2 |
| 2 | DCB0160 Clinical Risk Management: its Application in the Deployment and Use of Health IT Systems – Specification | 3.2 |
| 3 | Doctor Care Anywhere Clinical Risk Management System | CSCR |
| 4 | DCA Clinical Platform Clinical Safety Case Report | 1.0 |
| 5 | DCA Clinical Platform Hazard Log | 1.0 |

## Glossary of Terms

| Term | Definition |
| --- | --- |
| Clinical Risk | Combination of the severity of harm to a patient and the likelihood of occurrence of that harm |
| Clinical Safety Officer (CSO) | Person responsible for ensuring the safety of a Health IT System through application of clinical risk management |
| CRMF | Clinical Risk Management File – Repository of all records and documents produced by the clinical risk management process |
| CRMP | Clinical Risk Management Plan – Documents how clinical risk management will be conducted |
| CRMS | Clinical Risk Management System – Defines the organisation's approach to clinical risk management |
| CSCR | Clinical Safety Case Report – Report presenting arguments and evidence that a system is safe for a given application |
| DCA | Doctor Care Anywhere Clinical Platform |
| Harm | Death, physical injury, psychological trauma and/or damage to health or well-being of a patient |
| Hazard | Potential source of harm to a patient |
| Hazard Log | Mechanism for recording and communicating hazard identification and resolution |
| Health IT System | Product used to provide electronic information for health or social care purposes |
| Health Organisation (HO) | Organisation deploying and using the Health IT System |
| Manufacturer | Organisation responsible for design, development and maintenance of the Health IT System |
| MDT | Multi-Disciplinary Team |
| Residual Risk | Clinical risk remaining after application of risk control measures |
| Safety Incident | Any unintended or unexpected incident which could have, or did, lead to harm for one or more patients |
| Top Management | Person or group of people who direct and control the Manufacturer |

# Contents

Doctor Care Anywhere	1

DCA	1

Clinical Risk Management Plan	1

Document Management	1

Revision History	1

Authors	1

Reviewers	2

Approved by	2

Related Documents	2

Glossary of Terms	2

Contents	4

Introduction	6

Purpose	6

Background to Clinical Safety Standards	7

DCB0129 Conformance	7

Governance and Accountability	8

Top Management Responsibilities	8

Table 1. Top Management	8

Clinical Safety Officer	8

Clinical Safety MDT	9

Table 2. Clinical Safety MDT	9

Personnel Competencies	9

Table 3. Competency Requirements	10

System Overview and Clinical Context	10

System Description	10

Intended Purpose	10

Key Functional Capabilities	11

Intended Use	12

Intended Operating Environment	13

Operational Environment and Users	13

Table 4. Operational Environment	13

Table 5. User Groups	14

Scope and Exclusions	14

Clinical Risk Management Process	16

Core Risk Management Activities	16

Hazard Identification	16

Clinical Risk Estimation	17

Clinical Risk Evaluation	17

Clinical Risk Control	18

Control Options	18

Control Assessment	18

Residual Risk Evaluation	18

Control Implementation and Verification	19

Risk Benefit Analysis	19

Completeness Evaluation	19

Safety Documentation	19

Clinical Risk Management File	19

Hazard Log	20

Clinical Safety Case	21

Clinical Safety Case Reports	21

Safety Incident Management Log	21

Third Party Requirements	22

Third Party Product Assessment	22

Third Party Register	22

Lifecycle Management	22

Release	23

Pre-Release Requirements	23

Release Documentation	23

Audit Trail	23

Post-Release Monitoring	23

Monitoring Activities	24

Modifications and Change Management	24

Change Assessment	24

Change Control Process	24

Modification Audit Trail	25

Decommissioning	25

Authority to Release	25

Safety Incident Management	26

Incident Escalation Pathway	26

Incident Reporting	26

Incident Classification	27

Incident Investigation and Assessment	27

Corrective Action	27

Regular Review	28

Review Interval	28

Review Scope	28

Review Records	28

Appendices	29

Appendix A: Risk Matrix Definitions	29

Severity Classification	29

Likelihood Classification	30

Risk Acceptability	30

Appendix B – DCB0129 Conformance Checklist	31

# Introduction

## Purpose

The purpose of this Clinical Risk Management Plan (CRMP) is to define the implementation of, and any variation to Doctor Care Anywhere’'s Clinical Risk Management System for the DCA Clinical Platform.

It describes how the DCA Clinical Platform programme will conduct clinical risk management to ensure patient safety with respect to the design, development, and modification of the Health IT System and the interrelated and interactive activities that will occur to ensure that it meets the requirements of DCB0129 [Ref 1].

In fulfilling this purpose, any variation to the standard practices and procedures to be followed, as defined by the Clinical Risk Management System (CRMS), when performing the activities of the programme are documented here in this document.

This CRMP identifies the means by which the DCA programme shall be controlled to ensure that the safety work is of high quality, conforms to the requirements of the CRMS and any specific programme requirements.

This document will be updated when the plan changes in any way as to deviate from what has been committed to deliver. This will be decided by the Clinical Safety MDT.

## Background to Clinical Safety Standards

Information standards provide the mechanism for introducing requirements to the NHS, those with whom it commissions services and its IT system suppliers. There are two Information Standards related to patient safety described below. These Standards can be found at:

- DCB0129: Clinical Risk Management: its Application in the Manufacture of Health IT Systems – NHS Digital

- DCB0160: Clinical Risk Management: its Application in the Deployment and Use of Health IT Systems – NHS Digital

DCB0129 sets clinical risk management requirements for manufacturers of Health IT systems. It requires the manufacturer to establish a structure within which clinical risks associated with the design and development of a new Health IT system or the modification of an existing system are properly managed. It also ensures that outputs are clearly documented to provide evidence of compliance.

DCB0160 requires health organisations deploying and using new or modified health IT systems to have a structure to manage clinical risks associated with that deployment. Many of the requirements in DCB0129 are reflected in DCB0160 for health organisations.

As the Manufacturer of DCA, Doctor Care Anywhere is responsible for compliance with DCB0129. This CRMP supports that compliance.

## DCB0129 Conformance

This CRMP has been produced in accordance with DCB0129 requirements, specifically:

| Requirement | Description | How Addressed |
| --- | --- | --- |
| 3.2.1 | CRMP produced at start of project with risk acceptability criteria | This document |
| 3.2.2 | CSO approval of CRMP | Approval section |
| 3.2.3 | CRMP updated for project/personnel changes | Revision History |
| 3.2.4 | CRMP maintained throughout system life | Document Management |

A full conformance checklist is provided in Appendix C.

# Governance and Accountability

## Top Management Responsibilities

Top Management at Doctor Care Anywhere has overall accountability for the clinical safety of DCA.

In implementing this clinical risk management process, Top Management shall:

- Make available sufficient resources for clinical risk management activities to be completed effectively;

- Assign competent personnel from each specialist area involved in design, development, and deployment;

- Appoint a suitably qualified Clinical Safety Officer with current professional registration;

- Ensure nominated resources have sufficient time to apply appropriate effort to CRM activities; and

- Authorise the release of the Health IT System, accepting any residual clinical risk on behalf of Doctor Care Anywhere.

### Table 1. Top Management

| Role | Name | Organisation |
| --- | --- | --- |
| Chief Medical Officer | Anushka Mehrotra | Doctor Care Anywhere |
| Chief Executive Officer | Laura O'Riordan | Doctor Care Anywhere |

## Clinical Safety Officer

The Clinical Safety Officer is responsible for ensuring the clinical safety of DCA Clinical Platform through the application of clinical risk management. The Clinical Safety Officer is a suitably qualified and experienced clinician who holds current registration with their relevant professional body and has had appropriate training for this role.

Key responsibilities include:

- Approval of the Clinical Risk Management Plan to confirm that the plan is appropriate and achievable in the context of the Health IT System development and modification;

- Ensuring that clinical risk management activities are completed in accordance with the Clinical Risk Management Plan (this document);

- Reviewing and approving of all safety documentation including Clinical Safety Case Reports and Hazard Logs;

- Reviewing evidence in the Clinical Risk Management File to ensure it is complete and supports the Clinical Safety Case Report;

- Providing recommendation to Doctor Care Anywhere whether the system is safe to release; and

- Escalating any unacceptable safety risks to Top Management.

## Clinical Safety MDT

As outlined in the CRMS, Doctor Care Anywhere undertakes Clinical Risk and Safety Meetings using a clinical safety multidisciplinary team (MDT) approach.

Clinical risk analysis shall be carried out by a multi-disciplinary group including the Clinical Safety Officer.

Membership of the Clinical Safety MDT is outlined in Table 2. All meetings require at least one CSO and two other members to be quorate.

### Table 2. Clinical Safety MDT

| Name | Title/Responsibility | Organisation | Professional Registration |
| --- | --- | --- | --- |
| Patrick Roberts | Clinical Director / Clinical Safety Officer | DCA | HCPC: PH108922 |
| Anushka Mehrotra | Chief Medical Officer | DCA | GMC: 7075208 |
| Mohsin Chaudhary | Clinical Product | DCA | GMC: 7450864 |
| Elaine Phipps | Head of Product | DCA |  |
| Yasmin Karsan | Clinical Safety Officer | Curistica | GPhC: 2080112 |
| TBC | Compliance Representative | DCA |  |

Members of the Clinical Safety MDT are responsible for considering clinical safety in their respective roles in design, implementation, roll out, support and monitoring of the system.

In conjunction with the Clinical Safety Officer they ensure that every release of the software undergoes a formal review to ensure all requirements of the standard have been met.

## Personnel Competencies

All personnel involved in clinical risk management activities shall have knowledge, experience and competencies appropriate to the tasks assigned.

Competency and experience records for personnel involved in clinical risk tasks are maintained at: Clinical Management Policies

### Table 3. Competency Requirements

| Role | Required Competencies | Training Required |
| --- | --- | --- |
| Clinical Safety Officer | Active GMC/NMC/HCPC/GPhC registration CSO training Clinical risk management experience | CSO certification |
| Clinical Safety MDT Member | Clinical background or relevant technical expertise Hazard analysis skills | CRM awareness training |
| Product Owner | Product governance Stakeholder management | CRM overview |
| Technical Lead | System architecture Testing methodologies | CRM awareness training |

Competencies are reviewed: Annually

# System Overview and Clinical Context

## System Description

DCA Clinical Platform by Doctor Care Anywhere is a software platform. It is a web and mobile virtual health consultation platform, which offers users 24-hour access to clinicians including General Practitioners (GPs), Advanced Clinical Practitioners (ACPs), physiotherapists, and mental health practitioners by video or phone call. Users can access this service when they register and choose a pricing plan. The DCA platform also allows users to store their medical history and offers users private prescriptions, as well as specialist referrals and fit notes.

DCA is deployed across a range of healthcare and insurance contexts, including private medical insurance (PMI), corporate health services, and direct-to-consumer services. The platform operates 24 hours a day, 7 days a week, 365 days a year.

## Intended Purpose

The intended purpose of Doctor Care Anywhere is to provide:

- Remote clinical consultations for patients presenting with a range of acute, chronic, and administrative healthcare needs

- User assistance to select appropriate care journeys

- Private prescription services, including electronic prescribing and transmission to private pharmacy networks

- Transmission of consultation notes to the patient's NHS GP; private referrals to secondary care and specialist services

- Access to medical records, consultation notes, and clinical summaries for patients and authorised clinicians

- Private fit notes for limited time periods

- Mental health and psychological wellbeing support through integrated or referred services

- MSK services and digital exercise programmes

- Skin pathways

- Health prevention and health assessment services for individuals

- Population health management for corporate clients

- Health monitoring, advice, and follow-up for patients with long-term conditions

Clinical Scope

The clinical scope of DCA Clinical Platform is defined as:

| Aspect | Description |
| --- | --- |
| Clinical Domain(s) | Primary Care and Health Prevention |
| Clinical Functions | See capabilities table below |
| Patient Population | All ages dependent on inclusion and exclusion criteria |
| Exclusions | Medical & Mental Health Emergencies, Prescription of controlled drugs |

## Key Functional Capabilities

The Doctor Care Anywhere platform incorporates the following key clinical and operational functions:

| Function | Description |
| --- | --- |
| Patient Registration & Identity Verification | Secure patient onboarding with identity verification processes. Integration with NHS login and insurance member validation where applicable. |
| Care Journey Selection | User-facing functionality to assist patients in selecting the appropriate care pathway based on their presenting needs. |
| Video & Telephone Consultation | Encrypted real-time video and telephone consultations between patients and clinicians, with automated connection quality monitoring. |
| Electronic Prescribing | Clinicians can issue private prescriptions electronically via integration with private pharmacy networks. |
| Clinical Record Management | Structured clinical notes, consultation summaries, medical history, allergy records, and medication lists maintained in a longitudinal patient record. |
| Referral & Onward Care | Transmission of consultation notes to the patient's NHS GP. Generation and transmission of private referral letters to private secondary care services. Emergency escalation pathways to 999/A&E where clinically indicated. |
| Fit Notes & Documentation | Issue of private fit notes for limited time periods. |
| MSK Services | Musculoskeletal assessment and digital exercise programmes for patients with MSK conditions. |
| Skin Pathways | Clinical assessment and management pathways for dermatological presentations. |
| Health Prevention & Assessment | Health prevention and health assessment services for individual patients, including health checks and screening. |
| Population Health Management | Aggregate health data analysis and reporting for corporate clients to support workforce health strategies. |

## Intended Use

DCA Clinical Platform is intended to be used for:

The platform is intended for use by the following user groups:

- Adults aged 18 and over accessing healthcare on their own behalf

- Young people aged 16-17 accessing healthcare independently with their own account

- Parents or guardians accessing healthcare on behalf of children (requirement for child presence during consultation to be confirmed with CMO)

- Registered and GMC-licensed General Practitioners providing remote consultations

- Professionally registered nurses and allied health professionals supporting clinical workflows

- Non-clinical administrative and technical staff supporting platform operations

- Corporate clients and health insurance partners accessing aggregate (non-identifiable) reporting

## Intended Operating Environment

DCA Clinical Platform operates as a Software as a Service (SaaS) platform, accessible via:

- Web browser application (desktop and laptop)

- iOS mobile application (iPhone and iPad)

- Android mobile application

- Clinician-facing web portal for consultation management and clinical record access

- The platform is hosted on secure cloud infrastructure in accordance with NHS Digital Data Security and Protection Toolkit requirements and ISO 27001 standards. All data transmission is encrypted in transit (TLS 1.2 or higher) and at rest (AES-256).

The system is NOT intended for:

DCA Clinical Platform is not intended to replace emergency care. The platform incorporates the following limitations and contraindications:

- Not suitable for patients presenting with life-threatening emergencies — patients are directed to call 999 or attend A&E

- Physical examination cannot be conducted remotely; clinical judgement must account for this limitation

- Certain clinical presentations may be unsuitable for remote consultation and will require in-person assessment

- Prescribing via the platform is subject to applicable legal constraints; controlled drugs cannot be prescribed via the service

- The platform is not intended for use in inpatient or intensive care settings

## Operational Environment and Users

### Table 4. Operational Environment

| Aspect | Description |
| --- | --- |
| Deployment settings | Online - Virtual care |
| Integration points | Dictionary of Medicines and Devices (DM&D) for medication data. Private pharmacy networks (e.g. Signature Pharmacy). Corporate HR and health insurance partner systems via secure API. HL7 FHIR-compatible data exchange for relevant integrations. |
| Network requirements | Live internet connection |
| Hardware requirements | Smartphone, Laptop, Computer |

### Table 5. User Groups

| User Type | Role | Expertise Level |
| --- | --- | --- |
| Clinicians (GPs, ACPs, Physiotherapists, Mental Health Practitioners) | Clinicians on DCA Clinical Platform to support consultations | Clinically trained |
| Patients (adults 18+) | Receivers of virtual clinical care | Non-clinical |
| Young people (16-17) | Independent users accessing healthcare with own account | Non-clinical |
| Parents/Guardians of patients | Carers of receivers of virtual clinical care, accessing on behalf of children | Non-clinical |
| Administrative and technical staff | Non-clinical staff supporting platform operations, patient coordination, and technical support | Non-clinical |
| Corporate clients and health insurance partners | Organisations accessing aggregate (non-identifiable) reporting and population health management services | Non-clinical |

## Scope and Exclusions

In Scope:

The intended purpose of DCA Clinical Platform is to provide:

- Remote clinical consultations for patients presenting with a range of acute, chronic, and administrative healthcare needs

- User assistance to select appropriate care journeys

- Private prescription services, including electronic prescribing and transmission to private pharmacy networks

- Transmission of consultation notes to the patient's NHS GP; private referrals to secondary care and specialist services

- Access to medical records, consultation notes, and clinical summaries for patients and authorised clinicians

- Private fit notes for limited time periods

- Mental health and psychological wellbeing support through integrated or referred services

- MSK services and digital exercise programmes

- Skin pathways

- Health prevention and health assessment services for individuals

- Population health management for corporate clients

- Health monitoring, advice, and follow-up for patients with long-term conditions

Out of Scope:

DCA Clinical Platform is not intended to be used for medical purposes such as:

- Medical emergencies

- Trouble breathing/severe shortness of breath

- Chest pain/suspected heart attack

- Suspected stroke/ seizures

- Severe, sudden pain

- Severe infections

- High fever in sick children

- Complications that may arise from pregnancy or birth, including those that may require urgent or immediate attention

- Severe bleeding

- Serious injuries to the head, spine or limbs (e.g., broken bones or burns)

- Severe mental health problems (e.g., self-harm, suicidal thoughts or psychosis)

- The application is not intended to be used by individuals booking an appointment for someone else, unless:

  - The individual is a parent or legal guardian of the person for whom the appointment is being made, or

  - The person for whom the appointment is being made can clearly communicate their symptoms to ensure safe care.

If users are unable to provide accurate and sufficient information about their health condition, symptoms or medical history, the appropriateness of the consultations may be impacted.

# Clinical Risk Management Process

## Core Risk Management Activities

The DCA project will follow the hazard identification and assessment process laid out in the CRMS.

The extent of clinical risk management shall be commensurate with the scale, complexity and level of clinical risk associated with the Health IT System.

The Clinical Safety MDT will convene and undertake a Clinical Risk and Safety Meeting if any of the following criteria are met:

- A new DCA function or flow is being designed/considered, OR

- An existing DCA function is being removed, OR

- An existing DCA function or flow is being materially changed, OR

- A new DCA version is being released, OR

- A new hazard has been identified, OR

- A safety incident has occurred, OR

- Every twelve months (minimum).

Note: Any change in phase scope, content and future phase development will be addressed in this document by a revised CRMP document. This revised documentation will be agreed with the Clinical Safety Officer to ensure the correct governance and control is in place.

## Hazard Identification

Doctor Care Anywhere shall identify and document known and foreseeable hazards to patients in both normal and fault conditions through the design, development, and use of DCA Clinical Platform.

Hazards are identified throughout the lifecycle using both proactive and reactive mechanisms:

Proactive Methods:

- Design review and intended use analysis;

- Hazard workshops using structured techniques (e.g., SWIFT, HAZOP, FMEA);

- Process workflow analysis to identify failure points;

- Review of similar systems and known failure modes;

- AI/ML-specific hazard checklists (where applicable – see Appendix B); and

- Subject matter expert consultation.

Reactive Methods:

- Testing (system, integration, user acceptance);

- Safety incident analysis;

- User feedback and complaints;

- Post-release monitoring; and

- Review of lessons learned from previous deployments.

For each identified hazard, the following information will be defined and recorded on the Hazard Log:

- Hazard number;

- Hazard name;

- Hazard description;

- Potential clinical impact – effect in the care setting and potential impact on the patient (harm);

- Possible causes – technical, human, error etc.; and

- Existing controls – measures currently in place providing mitigation against the hazard.

## Clinical Risk Estimation

For each identified hazard, estimation will be made of the clinical risk using the criteria defined in this CRMP. This will include:

- The severity of the hazard (see Appendix A);

- The likelihood of the hazard (see Appendix A); and

- The resulting clinical risk score.

Subject Matter Experts (SMEs) shall assess the potential clinical impact of any identified hazard and document an initial risk rating in the Hazard Log.

The CSO will review documented hazards to ensure that those identified pose an actual clinical risk. They will also provide a degree of risk rating moderation, to ensure consistency in scoring and negation of unintentional bias by SMEs.

## Clinical Risk Evaluation

Each Hazard will be discussed by the Clinical Safety MDT and any other appropriate people. They will perform the following tasks and record the outcome in the Hazard Log:

- Estimation of clinical risks;

- Clinical risk evaluation against acceptability criteria (see Appendix C); and

- Clinical risk control option management.

For each identified hazard, Doctor Care Anywhere shall evaluate whether the initial clinical risk is acceptable using the risk acceptability criteria defined in Appendix C.

| Risk Level | Interpretation | Action Required |
| --- | --- | --- |
| 1 | Acceptable | No further action required |
| 2 | Acceptable | Acceptable where cost of further reduction outweighs benefits |
| 3 | Undesirable | Attempt risk reduction; acceptable only if impractical to reduce further |
| 4 | Mandatory risk elimination | Must implement controls to reduce risk |
| 5 | Unacceptable | Hazard must be eliminated or function must not be released |

If the initial clinical risk is acceptable, then no further risk control measures are required for that hazard.

## Clinical Risk Control

For clinical risks not deemed acceptable, Doctor Care Anywhere shall identify appropriate clinical risk control measures.

### Control Options

Control options shall be considered in the following priority order:

| Priority | Control Type | Examples |
| --- | --- | --- |
| 1st | Design controls | System modifications, interlocks, alerts |
| 2nd | Design controls (Protective Measures) | Warnings, restrictions, confirmations |
| 3rd | Procedural controls | Business processes, SOPs, workflows, checklists |
| 4th | Training controls | User training, competency assessments |
| 5th | Monitoring controls | Audit, supervision, reporting |

### Control Assessment

Proposed clinical risk control measures shall be assessed to determine whether:

- New hazards will be introduced as a result of the measures; and

- The clinical risks for previously identified hazards will be affected.

Any new hazards or increased clinical risks shall be managed in accordance with this CRMP.

### Residual Risk Evaluation

Following identification of control measures, the residual clinical risk shall be evaluated using the risk acceptability criteria in Appendix C.

Where a residual clinical risk is judged unacceptable, additional clinical risk control measures shall be identified to reduce the clinical risk.

### Control Implementation and Verification

Each clinical risk control measure shall be:

- Implemented as specified;

- Verified as implemented correctly; and

- Verified as effective in reducing risk.

Verification evidence shall be recorded in the Clinical Risk Management File.

## Risk Benefit Analysis

Where a residual clinical risk is deemed unacceptable and further clinical risk control is not practicable, Doctor Care Anywhere shall determine if the clinical benefits of the intended use outweigh the residual clinical risk.

If the clinical benefits do not outweigh the residual clinical risk, then the clinical risk remains unacceptable and the release shall be re-appraised.

Risk benefit analysis shall be documented and approved by the Clinical Safety Officer and Top Management.

## Completeness Evaluation

Before release, Doctor Care Anywhere shall ensure that:

- The clinical risks from all identified hazards have been considered;

- All unacceptable risks have control measures or risk-benefit justification;

- All control measures have been verified;

- Residual risks have been formally accepted by Top Management; and

- The Hazard Log is complete and current.

# Safety Documentation

## Clinical Risk Management File

Doctor Care Anywhere shall establish and maintain a Clinical Risk Management File (CRMF) for DCA.

The CRMF is a repository of all records and other documents produced by the clinical risk management process.

Table 6. Clinical Risk Management File Components

| Item | Definition | Location |
| --- | --- | --- |
| Clinical Risk Management File (CRMF) | Repository of all records and other documents produced by the clinical risk management process | [To be confirmed by DCA] |
| Clinical Risk Management Plan (CRMP) | Plan documenting how clinical risk management will be conducted | [To be confirmed by DCA] |
| Clinical Safety Case (CSC) | Accumulation and organisation of documentation and supporting evidence through the lifecycle | [To be confirmed by DCA] |
| Clinical Safety Case Report (CSCR) | Summary of arguments and evidence that the system is safe for a given application | [To be confirmed by DCA] |
| Clinical Safety Hazard Log (CSHL) | Record of historical and on-going identification and resolution of hazards | [To be confirmed by DCA] |
| Safety Incident Management Log | Record of historical and on-going incidents, including investigation and resolution | [To be confirmed by DCA] |
| Third Party Components | Record of all third party components used within the system | [To be confirmed by DCA] |

The CRMF shall be maintained for the life of DCA.

All formal documents and evidence of compliance with DCB0129 requirements shall be recorded in the CRMF. Any decisions made that influence clinical risk management activities shall be recorded in the CRMF.

## Hazard Log

Doctor Care Anywhere shall establish and maintain a Hazard Log for DCA.

The Hazard Log is a mechanism for recording and communicating the on-going identification and resolution of hazards associated with the Health IT System.

The Clinical Safety Officer shall approve each version of the Hazard Log.

An issued Hazard Log shall accompany each Clinical Safety Case Report.

Location: [To be confirmed by DCA]

## Clinical Safety Case

Doctor Care Anywhere shall develop and maintain a Clinical Safety Case for DCA.

The Clinical Safety Case is a structured argument, supported by a body of relevant evidence, that provides a compelling, comprehensible, and valid case that the system is safe for a given application in each operating environment.

The Clinical Safety Case is the accumulation and organisation of product and business process documentation and supporting evidence, through the lifecycle of DCA..

## Clinical Safety Case Reports

Doctor Care Anywhere shall produce a Clinical Safety Case Report (CSCR) to support relevant lifecycle phases of DCA:

CSCR Issue Points:

| Lifecycle Stage | CSCR Requirement |
| --- | --- |
| Initial Release | CSCR before first deployment |
| Major Version Updates | CSCR update for significant functionality changes |
| Risk-Affecting Changes | CSCR update if risk profile changes |
| Safety Incidents | CSCR update if incident affects safety case |
| Periodic Review | CSCR review at minimum annually |

The Clinical Safety Officer shall approve each Clinical Safety Case Report.

CSCR Distribution:

Doctor Care Anywhere shall make the CSCR and accompanying Hazard Log available to receiving Health Organisations to support their DCB0160 compliance activities. This may be:

- Provided directly to the Health Organisation;

- Made available via secure download; or

- Included in the product documentation package.

## Safety Incident Management Log

Doctor Care Anywhere shall maintain a Safety Incident Management Log recording as per the incident management policy:

- Incident reference and date;

- Incident description;

- Assessment outcome;

- Corrective actions;

- Hazard Log reference (if applicable);

- Resolution status; and

- Close-out date.

Location: Electronic Management system - MEG

# Third Party Requirements

## Third Party Product Assessment

Where DCA incorporates or interfaces with third party products, Doctor Care Anywhere shall assess the safety of these products as part of the overall clinical risk management process.

Assessment Process:

- Identification: Third party products are identified and documented in the CRMF;

- DCB0129 Compliance: Evidence of the third party's DCB0129 compliance is requested, where applicable;

- Safety Documentation Review: CSCRs and relevant safety documentation from third parties are reviewed, where applicable;

- Gap Analysis: Where third party compliance evidence is incomplete, additional hazard analysis is conducted; and

- Ongoing Monitoring: Third party updates and changes are assessed for clinical safety impact.

### Third Party Register

- Signature Pharmacy

- Full Health Medical (FHM) Partnership

- Vonage Video Conferencing

- Braze Communication

For each third party component, the following shall be assessed:

- Purpose of the component and how failure might impact the overall system;

- Whether the third party has a time-limited licence which could cause failure;

- Whether functioning is dependent on availability of another service; and

- The potential for the third party to be upgraded or changed without Doctor Care Anywhere being made aware.

# Lifecycle Management

## Release

Prior to release of DCA to a Health Organisation, Doctor Care Anywhere shall undertake a formal review to ensure that all requirements of DCB0129 have been addressed.

### Pre-Release Requirements

| Requirement | Responsible | Evidence |
| --- | --- | --- |
| Hazard Log complete and current | CSO | Signed Hazard Log |
| CSCR approved | CSO | Signed CSCR |
| All risk scores ≤3 or accepted | CSO + Top Management | Hazard Log + Acceptance |
| Testing complete | Development Lead | Test reports |
| Controls verified | Quality | Verification records |
| Release authorised | Top Management | Release authorisation |

### Release Documentation

Each release shall include:

- Version number and release notes;

- Summary of changes affecting clinical safety;

- Updated Hazard Log;

- Updated CSCR (if required); and

- Any changes to intended use or operational environment.

### Audit Trail

Doctor Care Anywhere shall maintain an audit trail of releases including:

- Release date and version;

- Changes included;

- Hazard Log version;

- CSCR version; and

- Authorisation records.

Audit trail location: Electronic Management system - MEG (whether MEG tracks CSCR version changes to be confirmed by DCA)

## Post-Release Monitoring

Doctor Care Anywhere shall establish, document and maintain a process to collect and review reported safety concerns and safety incidents for DCA following its release.

### Monitoring Activities

| Activity | Frequency | Responsible |
| --- | --- | --- |
| Review of incident reports | Continuous | CSO |
| User feedback analysis | <<FREQUENCY>> | Product Team |
| Performance metrics review | <<FREQUENCY>> | Technical Team |
| Health Organisation liaison | <<FREQUENCY>> | Account Team |
| Hazard Log review | Minimum quarterly | CSO |

Doctor Care Anywhere shall assess the impact of any such information on the on-going validity of the Clinical Safety Case.

Where any such evidence is assessed to undermine the Clinical Safety Case, Doctor Care Anywhere shall take appropriate corrective action in accordance with this CRMP and document it in the Clinical Safety Case Report.

## Modifications and Change Management

Doctor Care Anywhere shall apply this clinical risk management process to any modifications of DCA Clinical Platform.

The application of this process shall be commensurate with the scale and extent of the change and the introduction of any new clinical risks.

### Change Assessment

| Change Type | CRM Requirement |
| --- | --- |
| Safety-critical change | Full hazard analysis and CSCR update |
| MAJOR: Significant functionality change | Targeted hazard analysis, CSCR update if risk-affecting |
| MINOR: Minor change | Impact assessment, Hazard Log update if affected |
| Configuration only | Review for clinical impact |

### Change Control Process

- Change Request: Document proposed change and rationale;

- Impact Assessment: Assess clinical safety impact of change;

- Hazard Analysis: Conduct hazard analysis if indicated;

- Risk Control: Identify and implement controls as required;

- Testing: Test changes including safety-related testing;

- Documentation: Update Hazard Log, CSCR as required; and

- Release: Follow standard release process.

### Modification Audit Trail

An audit trail is maintained for all modifications including:

- Change reference and date;

- Description of modification;

- Clinical safety impact assessment;

- Hazard Log updates;

- CSCR updates (if applicable);

- Testing and verification records; and

- Authorisation records.

Doctor Care Anywhere shall issue a Clinical Safety Case Report to support any modifications to DCA Clinical Platform that change its clinical risk.

## Decommissioning

When DCA Clinical Platform is to be decommissioned, the clinical risk management process shall be applied considering:

- Risks from removing system functionality;

- Impact on clinical workflows;

- Data accessibility requirements post-decommission;

- User communication and training needs;

- Migration to any succeeding Health IT System; and

- Data migration between decommissioned and succeeding systems.

Doctor Care Anywhere shall provide guidance to Health Organisations on safe decommissioning of DCA Clinical Platform.

## Authority to Release

Following clinical review and completion of safety documentation, the Clinical Safety Officer shall issue an Authority to Release recommendation.

The Authority to Release shall include:

- Confirmation that clinical risk assessment is complete;

- Summary of residual risks and their acceptability;

- Any conditions or restrictions on deployment;

- Training requirements for deploying organisations; and

- Monitoring requirements.

Release shall not proceed without:

- CSO approval of the Authority to Release (via e-signature); and

- Top Management authorisation accepting residual clinical risk (via e-signature).

# Safety Incident Management

## Incident Escalation Pathway

The following escalation pathway applies to clinical safety incidents:

- Identification and Initial Logging: Incident is reported and logged in the Safety Incident Management Log by any member of staff or through Health Organisation feedback.

- Initial Triage: The incident is triaged by the Clinical Safety Officer (or deputy) to determine severity classification (Critical, Major, Minor, Near Miss) and assign response priority.

- Investigation: The Clinical Safety Officer leads the investigation, engaging relevant members of the Clinical Safety MDT and technical teams as required. Root cause analysis is undertaken.

- MDT Review: The Clinical Safety MDT reviews the investigation findings, assesses impact on the Clinical Safety Case, and determines whether new or modified hazards should be recorded in the Hazard Log.

- Corrective Action: Corrective actions are identified, approved by the Clinical Safety Officer, and assigned to responsible owners with target completion dates.

- Top Management Escalation: Critical or Major incidents, or any incident that materially affects the Clinical Safety Case, are escalated to Top Management (Chief Medical Officer and/or Chief Executive Officer) for review and authorisation of corrective actions.

- External Reporting: Where required, incidents are reported to relevant regulatory bodies, affected Health Organisations, and other stakeholders as appropriate.

- Close-out: The Clinical Safety Officer confirms that corrective actions have been implemented and verified, updates the Hazard Log and Clinical Safety Case Report as necessary, and closes the incident.

## Incident Reporting

Safety incidents or near misses arising from use of DCA Clinical Platform should be reported via:

- Doctor Care Anywhere support channels;

- Health Organisation incident reporting systems; and

- Regulatory reporting (where applicable).

Incidents may be identified through:

- Direct user reporting;

- Health Organisation feedback;

- Internal testing findings;

- Patient complaints; and

- Regulatory notifications.

## Incident Classification

| Category | Definition | Response Time |
| --- | --- | --- |
| Critical | Actual patient harm or imminent risk | Immediate |
| Major | Potential for significant harm | 24 hours |
| Minor | Limited impact, controlled | 5 working days |
| Near Miss | No harm but potential identified | 10 working days |

## Incident Investigation and Assessment

All reported incidents shall be:

- Logged in the Safety Incident Management Log;

- Triaged for severity and response priority;

- Investigated to determine root cause;

- Assessed for impact on Clinical Safety Case;

- Addressed through corrective action where required; and

- Documented with outcomes and lessons learned.

Assessment includes:

- Determination of actual or potential patient harm;

- Root cause analysis;

- Impact on Clinical Safety Case validity; and

- Requirement for additional Hazard Log entries.

Safety-related incidents shall be reported and resolved in a timely manner commensurate with the risk level.

## Corrective Action

Where incident assessment identifies safety case implications:

- Implement immediate temporary risk mitigation (if required);

- Notify affected Health Organisations for system-related issues;

- Update Hazard Log with new/modified hazards;

- Implement permanent corrective actions;

- Update Clinical Safety Case Report; and

- Communicate changes to affected stakeholders.

The impact of any incident relating to DCA Clinical Platform will be assessed by the Clinical Safety MDT and escalated to Top Management where required.

# Regular Review

## Review Interval

This Clinical Risk Management Plan and the associated clinical risk management process shall be formally reviewed:

- Annually as a minimum;

- Following any significant safety incident;

- Following major system changes;

- Following regulatory or standards updates; and

- Following organisational changes affecting CRM responsibilities.

Next scheduled review date: 28.02.2027

## Review Scope

The review covers:

- Effectiveness of hazard identification methods;

- Appropriateness of risk evaluation criteria;

- Effectiveness of control measures;

- Completeness of documentation;

- Adequacy of resources;

- Competency of personnel; and

- Lessons learned from incidents.

This CRMP shall be updated when:

- The nature of the project changes;

- Key personnel change;

- Risk acceptability criteria change;

- Significant hazards are identified;

- Lessons learned require process improvement; or

- Regulatory requirements change.

## Review Records

| Review Date | Reviewer | Findings | Actions | Status |
| --- | --- | --- | --- | --- |

Process review records are maintained in the CRMF at: [To be confirmed by DCA]

# Appendices

# Appendix A: Risk Matrix Definitions

### Severity Classification

| Level | Category | Definition |  |
| --- | --- | --- | --- |
| 5 | Catastrophic | Death | Multiple |
|  |  | Permanent life-changing incapacity and any condition for which the prognosis is death or permanent life-changing incapacity; severe injury or severe incapacity from which recovery is not expected in the short term | Multiple |
| 4 | Major | Death | Single |
|  |  | Permanent life-changing incapacity and any condition for which the prognosis is death or permanent life-changing incapacity; severe injury or severe incapacity from which recovery is not expected in the short term | Single |
|  |  | Severe injury or severe incapacity from which recovery is expected in the short term | Multiple |
|  |  | Severe psychological trauma | Multiple |
| 3 | Considerable | Severe injury or severe incapacity from which recovery is expected in the short term | Single |
|  |  | Severe psychological trauma | Single |
|  |  | Minor injury or injuries from which recovery is not expected in the short term. | Multiple |
|  |  | Significant psychological trauma. | Multiple |
| 2 | Significant | Minor injury or injuries from which recovery is not expected in the short term. | Single |
|  |  | Significant psychological trauma. | Single |
|  |  | Minor injury from which recovery is expected in the short term | Multiple |
|  |  | Minor psychological upset; inconvenience | Multiple |
| 1 | Minor | Minor injury from which recovery is expected in the short term; minor psychological upset; inconvenience; any negligible severity | Single |

### Likelihood Classification

| Level | Category | Description | Probability |
| --- | --- | --- | --- |
| 5 | Very High | Certain or almost certain; highly likely to occur | > 99% |
| 4 | High | Not certain but very possible; reasonably expected to occur in the majority of cases | 10.0% - 99% |
| 3 | Medium | Possible | 1.0% - 10.0% |
| 2 | Low | Could occur but in the great majority of occasions will not | 0.1% - 1.0% |
| 1 | Very Low | Negligible or nearly negligible possibility of occurring | < 0.1% |

Risk Assessment

| Likelihood | Very High | 3 | 4 | 4 | 5 | 5 |
| --- | --- | --- | --- | --- | --- | --- |
|  | HIgh | 2 | 3 | 3 | 4 | 5 |
|  | Medium | 2 | 2 | 3 | 3 | 4 |
|  | Low | 1 | 2 | 2 | 3 | 4 |
|  | Very Low | 1 | 1 | 2 | 2 | 3 |
|  |  | Minor | Significant | Considerable | Major | Catastrophic |
|  |  | Severity |  |  |  |  |

### Risk Acceptability

| 5 | Unacceptable level of risk Mandatory elimination of hazards or addition of control measures to reduce risk to an acceptable level |
| --- | --- |
| 4 |  |
| 3 | Undesirable level of risk Attempts should be made to eliminate the hazards or implement control measures to reduce risk to an acceptable level. Shall only be acceptable when further risk reduction is impractical |
| 2 | Acceptable where cost of further reduction outweighs benefits gained or where further risk reduction is impractical |
| 1 | Acceptable, no further action required |

## Appendix B – DCB0129 Conformance Checklist

| Req | DCB0129 Requirement | Standard Section | CRMP Section | Evidence Location | Done |
| --- | --- | --- | --- | --- | --- |
| 2.1 Clinical Risk Management Process |  |  |  |  |  |
| 2.1.1 | Define and document CRM process | DCB0129 §2.1.1 | Clinical Risk Management Process |  | ☐ |
| 2.2 Top Management |  |  |  |  |  |
| 2.2.1 | Make available sufficient resources | DCB0129 §2.2.1 | Top Management Responsibilities |  | ☐ |
| 2.2.2 | Authorise release accepting residual risk | DCB0129 §2.2.2 | Release Authorisation |  | ☐ |
| 2.3 Clinical Safety Officer |  |  |  |  |  |
| 2.3.1 | CSO is qualified clinician | DCB0129 §2.3.1 | Clinical Safety Officer |  | ☐ |
| 2.3.2 | CSO has professional registration | DCB0129 §2.3.2 | Clinical Safety MDT (Table 2) |  | ☐ |
| 2.3.3 | CSO has CRM knowledge and experience | DCB0129 §2.3.3 | Personnel Competencies |  | ☐ |
| 2.3.4 | CSO ensures process compliance | DCB0129 §2.3.4 | Clinical Safety Officer |  | ☐ |
| 2.4 Competencies |  |  |  |  |  |
| 2.4.1 | Personnel have required competencies | DCB0129 §2.4.1 | Personnel Competencies |  | ☐ |
| 2.4.2 | Competencies recorded | DCB0129 §2.4.2 | Personnel Competencies |  | ☐ |
| 2.5 Third Party Products |  |  |  |  |  |
| 2.5.1 | Third party products assessed | DCB0129 §2.5.1 | Third Party Product Assessment |  | ☐ |
| 2.5.2 | Third party evidence obtained | DCB0129 §2.5.2 | Third Party Register (Table 7) |  | ☐ |
| 2.6 Regular Review |  |  |  |  |  |
| 2.6.1 | CRM process regularly reviewed | DCB0129 §2.6.1 | Regular Review |  | ☐ |
| 3.1 CRMF |  |  |  |  |  |
| 3.1.1 | CRMF established | DCB0129 §3.1.1 | Clinical Risk Management File |  | ☐ |
| 3.1.2 | CRMF maintained for life | DCB0129 §3.1.2 | Clinical Risk Management File |  | ☐ |
| 3.1.3 | Compliance evidence in CRMF | DCB0129 §3.1.3 | Clinical Risk Management File |  | ☐ |
| 3.1.4 | Decisions recorded in CRMF | DCB0129 §3.1.4 | Clinical Risk Management File |  | ☐ |
| 3.2 CRMP |  |  |  |  |  |
| 3.2.1 | CRMP produced at project start | DCB0129 §3.2.1 | This document |  | ☐ |
| 3.2.2 | CSO approves CRMP | DCB0129 §3.2.2 | Approved by |  | ☐ |
| 3.2.3 | CRMP updated for changes | DCB0129 §3.2.3 | Revision History |  | ☐ |
| 3.2.4 | CRMP maintained for life | DCB0129 §3.2.4 | Document Management |  | ☐ |
| 3.3 Hazard Log |  |  |  |  |  |
| 3.3.1 | Hazard Log established | DCB0129 §3.3.1 | Hazard Log |  | ☐ |
| 3.3.2 | CSO approves Hazard Log | DCB0129 §3.3.2 | Hazard Log |  | ☐ |
| 3.3.3 | Hazard Log accompanies CSCR | DCB0129 §3.3.3 | Clinical Safety Case Reports |  | ☐ |
| 3.4 Clinical Safety Case |  |  |  |  |  |
| 3.4.1 | CSC developed and maintained | DCB0129 §3.4.1 | Clinical Safety Case |  | ☐ |
| 3.5 CSCR |  |  |  |  |  |
| 3.5.1 | CSCR at lifecycle phases | DCB0129 §3.5.1 | Clinical Safety Case Reports |  | ☐ |
| 3.5.2 | CSO approves CSCR | DCB0129 §3.5.2 | Clinical Safety Case Reports |  | ☐ |
| 3.5.3 | CSCR made available to HOs | DCB0129 §3.5.3 | Clinical Safety Case Reports |  | ☐ |
| 3.6 Safety Incident Log |  |  |  |  |  |
| 3.6.1 | Log established and maintained | DCB0129 §3.6.1 | Safety Incident Management Log |  | ☐ |
| 4.1 Risk Analysis |  |  |  |  |  |
| 4.1.1 | Risk analysis implemented | DCB0129 §4.1.1 | Clinical Risk Management Process |  | ☐ |
| 4.1.2 | Multi-disciplinary involvement | DCB0129 §4.1.2 | Clinical Safety MDT |  | ☐ |
| 4.1.3 | Extent commensurate | DCB0129 §4.1.3 | Core Risk Management Activities |  | ☐ |
| 4.2 Definition |  |  |  |  |  |
| 4.2.1 | Clinical scope defined | DCB0129 §4.2.1 | Clinical Scope |  | ☐ |
| 4.2.2 | Intended use defined | DCB0129 §4.2.2 | Intended Use |  | ☐ |
| 4.2.3 | Environment and users defined | DCB0129 §4.2.3 | Operational Environment and Users |  | ☐ |
| 4.3 Hazard Identification |  |  |  |  |  |
| 4.3.1 | Hazards identified | DCB0129 §4.3.1 | Hazard Identification |  | ☐ |
| 4.4 Risk Estimation |  |  |  |  |  |
| 4.4.1 | Severity and likelihood estimated | DCB0129 §4.4.1 | Clinical Risk Estimation |  | ☐ |
| 5.1 Risk Evaluation |  |  |  |  |  |
| 5.1.1 | Initial risk evaluated | DCB0129 §5.1.1 | Clinical Risk Evaluation |  | ☐ |
| 5.1.2 | Acceptable risks may skip controls | DCB0129 §5.1.2 | Clinical Risk Evaluation |  | ☐ |
| 6.1 Control Options |  |  |  |  |  |
| 6.1.1 | Control measures identified | DCB0129 §6.1.1 | Clinical Risk Control |  | ☐ |
| 6.1.2 | Control impact assessed | DCB0129 §6.1.2 | Control Assessment |  | ☐ |
| 6.1.3 | New hazards from controls managed | DCB0129 §6.1.3 | Control Assessment |  | ☐ |
| 6.1.4 | Residual risk evaluated | DCB0129 §6.1.4 | Residual Risk Evaluation |  | ☐ |
| 6.1.5 | Additional controls if needed | DCB0129 §6.1.5 | Residual Risk Evaluation |  | ☐ |
| 6.1.6 | RBA considered if needed | DCB0129 §6.1.6 | Risk Benefit Analysis |  | ☐ |
| 6.2 Risk Benefit |  |  |  |  |  |
| 6.2.1 | RBA conducted where needed | DCB0129 §6.2.1 | Risk Benefit Analysis |  | ☐ |
| 6.2.2 | Re-appraise if benefits < risks | DCB0129 §6.2.2 | Risk Benefit Analysis |  | ☐ |
| 6.3 Implementation |  |  |  |  |  |
| 6.3.1 | Controls implemented | DCB0129 §6.3.1 | Control Implementation and Verification |  | ☐ |
| 6.3.2 | Implementation verified | DCB0129 §6.3.2 | Control Implementation and Verification |  | ☐ |
| 6.3.3 | Effectiveness verified | DCB0129 §6.3.3 | Control Implementation and Verification |  | ☐ |
| 6.4 Completeness |  |  |  |  |  |
| 6.4.1 | Completeness evaluated | DCB0129 §6.4.1 | Completeness Evaluation |  | ☐ |
| 7.1 Delivery |  |  |  |  |  |
| 7.1.1 | CSCR before release | DCB0129 §7.1.1 | Release |  | ☐ |
| 7.1.2 | CSO approves CSCR | DCB0129 §7.1.2 | Clinical Safety Case Reports |  | ☐ |
| 7.1.3 | CSCR provided to HO | DCB0129 §7.1.3 | Clinical Safety Case Reports |  | ☐ |
| 7.1.4 | Audit trail maintained | DCB0129 §7.1.4 | Audit Trail |  | ☐ |
| 7.2 Monitoring |  |  |  |  |  |
| 7.2.1 | Monitoring process established | DCB0129 §7.2.1 | Post-Release Monitoring |  | ☐ |
| 7.2.2 | Impact on safety case assessed | DCB0129 §7.2.2 | Post-Release Monitoring |  | ☐ |
| 7.2.3 | Corrective action taken | DCB0129 §7.2.3 | Corrective Action |  | ☐ |
| 7.2.4 | Timely resolution | DCB0129 §7.2.4 | Incident Classification |  | ☐ |
| 7.2.5 | Incident log maintained | DCB0129 §7.2.5 | Safety Incident Management Log |  | ☐ |
| 7.3 Modification |  |  |  |  |  |
| 7.3.1 | CRM applied to modifications | DCB0129 §7.3.1 | Modifications and Change Management |  | ☐ |
| 7.3.2 | Extent commensurate | DCB0129 §7.3.2 | Change Assessment |  | ☐ |
| 7.3.3 | CSCR for risk-affecting changes | DCB0129 §7.3.3 | Modifications and Change Management |  | ☐ |
| 7.3.4 | Audit trail for modifications | DCB0129 §7.3.4 | Modification Audit Trail |  | ☐ |

Document prepared in accordance with DCB0129 v4.2

Curistica Template version: 1.0